FLAT  GU10 5.5W 830

|  | Compatible with GU10 base fixtures lamp, convenient and quick to use. Featuring a PC housing with optimized heat dissipation design for stable and durable performance. Equipped with high-brightness LED chips, it delivers 440 lumens at low power consumption of 5.5W, matching the brightness of traditional 38W halogen bulbs. Boasting a color rendering index of Ra≥80 for true color reproduction. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CHARACTERISTIC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | • Modern and robust design. Supply voltage AC165-240V. • Compatible with GU10 base fixtures lamp. • Operating environment temperature: -25°C~+40°C. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | APPLICATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All fixtures using the GU10 base, such as spotlights, downlights, and track lights,etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| OPTICS DATA |  | PHYSICAL DATA |  | ELECTIRCAL DATA |  |
| --- | --- | --- | --- | --- | --- |
| Colour Temperature | 3000 K (NW) | Finish | White | Input Power | 5.5W |
| Flux Lumen | 440 lm | Grade of Protection IP | IP20 | Operating Voltage | 165-240V 50/60 Hz |
| Beam Angle | 38° | Dimensions (LxWxH) | 46*55mm | Power Factor | >0.5 |
| Type of Distribution | Non-directional | Type of Mounting | Suspended/Surface/Recessed |  |  |
| Colour Rendering Index (CRI) | >80 | Housing | PC |  |  |
| Lifetime | 25000 h L70B50 | Type of Driver | / |  |  |
| Efficiency | 80 lm/W | Operation Temperature Ta | -25°C~+40°C |  |  |

| DIMENSIONS | PHOTOMETRICS |
| --- | --- |

| The characteristics of the products may be modified without prior notice depending on the evolution of LED technology. 01/22 | Ecological Product: Allows you to save energy compared to traditional products. Mercury free. |
| --- | --- |